## Spans Template
Date | 2025-12-16
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
|  |  |  | #VALUE! | FALSE

## 549_SWU001
Date | 2025-11-23
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
0 | 1984-10-09T18:16:00Z | 1984-10-10T09:09:00Z |  | 14:53 | FALSE | No events found even after make_more_sac run. In mseedfiles, a clear event at 10-10 (284) 1984 at ~00:34:12 which could possibly correspond with M5.4 EQ from Guam at 00:24:44 in USGS catalog. Timestamps okay. Cannot confirm timing. Keep for now.
1 | 1984-10-14T00:17:00Z | 1984-10-23T01:53:00Z |  | 217:36 | TRUE
2 | 1984-10-23T02:22:00Z | 1984-10-23T06:39:00Z |  | 4:17 | FALSE | No events found even after make_more_sac run. In mseedfiles, no events with corresponding events in USGS catalog. Timing okay- consistent with the start of a calibration test. See service sheet for more information. Keep for now.
3 | 1984-10-23T07:13:00Z | 1984-10-23T07:19:00Z |  | 0:06 | FALSE | No events found even after make_more_sac run. In mseedfiles, no events with corresponding events in USGS catalog. Discard.
4 | 1984-10-23T07:25:00Z | 1984-10-23T08:06:00Z |  | 0:41 | FALSE | No events found even after make_more_sac run. In mseedfiles, no events with corresponding events in USGS catalog. Timing within minutes of error. N component very very noisy- contains periodic spikes/noise. Discard.
5 | 1984-10-23T08:15:00Z | 1984-10-23T08:57:00Z |  | 0:42 | FALSE | No events found even after make_more_sac run. In mseedfiles, no events with corresponding events in USGS catalog. Contains part of calibration test on (only contains the vertical component)- service sheet notes are unclear but indicate clock timing correction. Seems within minutes of error. Keep for now.
6 | 1984-10-23T09:03:00Z | 1984-10-25T02:17:00Z |  | 41:14 | FALSE | No events found even after make_more_sac run. In mseedfiles, no events with corresponding events in USGS catalog. Contains parts of two calibration test on- service sheet notes are unclear but indicate clock timing correction. Seems within minutes of error. Keep for now.
7 | 1984-10-25T02:27:00Z | 1984-10-25T04:04:00Z |  | 1:37 | FALSE | No events found even after make_more_sac run. In mseedfiles, no events with corresponding events in USGS catalog. Timing okay- contains the remaining part of the calibration test. Starting on span 6. Keep for now.
8 | 1984-10-25T04:15:00Z | 1984-10-25T07:07:00Z |  | 2:52 | TRUE | No events found even after make_more_sac run. In mseedfiles, no confirmed events with corresponding events in USGS catalog. A large close event is present in mseedfiles. Timing okay- contains the remaining part of the calibration test. Starting on span 6/7. Keep for now.
9 | 1984-10-25T07:17:00Z | 1984-10-25T09:00:00Z |  | 1:43 | FALSE | No events found even after make_more_sac run. In mseedfiles, no events with corresponding events in USGS catalog. Timing okay- within a couple hours of error. Keep for now.
12 | 1984-10-25T09:15:00Z | 1984-12-13T01:13:00Z |  | 1167:58 | TRUE

## 550_SWU002
Date | 2025-11-10
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
0 | 1984-12-24T08:30:00Z | 1985-01-06T02:29:00Z |  | 305:59 | TRUE
1 | 1985-01-31T05:32:00Z | 1985-02-01T02:52:00Z |  | 21:20 | FALSE | No events found even after make_more_sac run. One clear event in mseedfiles with no corresponding events in USGS catalog. Timestamps okay. Cannot confirm timing. Keep for now.
2 | 1985-02-01T02:56:00Z | 1985-02-02T11:41:00Z |  | 32:45 | TRUE
3 | 1985-02-02T16:39:00Z | 1985-02-09T16:05:00Z |  | 167:26 | TRUE
4 | 1985-02-09T22:43:00Z | 1985-02-10T02:31:00Z |  | 3:48 | FALSE | No events found even after make_more_sac run. In mseedfiles, no events with corresponding events in USGS catalog. Timestamps okay. Cannot confirm timing- within hours of error. Keep for now.
5 | 1985-02-10T23:51:00Z | 1985-02-11T13:23:00Z |  | 13:32 | TRUE
6 | 1985-02-11T22:38:00Z | 1985-02-12T11:09:00Z |  | 12:31 | FALSE | No events found even after make_more_sac run. In mseedfiles, no events with corresponding events in USGS catalog. Timestamps okay. Cannot confirm timing. Waveform very very noisy. Discard for now.
7 | 1985-02-13T01:48:00Z | 1985-02-13T04:25:00Z |  | 2:37 | FALSE | No events found even after make_more_sac run. In mseedfiles, no events with corresponding events in USGS catalog. Timestamps okay. Cannot confirm timing, questionable. Keep for now.
8 | 1985-02-13T05:42:00Z | 1985-02-14T19:20:00Z |  | 37:38 | FALSE | No events found even after make_more_sac run. In mseedfiles, no events with corresponding events in USGS catalog. Timestamps okay/consistent. Cannot confirm timing, questionable. Keep for now.
9 | 1985-02-15T03:01:00Z | 1985-02-19T21:14:00Z |  | 114:13 | TRUE

## 551_SWU003
Date | 2025-09-22
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
0 | 1985-04-10T06:19:00Z | 1985-04-11T07:23:00Z |  | 25:04 | TRUE
1 | 1985-06-04T02:02:00Z | 1985-07-22T03:33:00Z |  | 1153:31 | TRUE

## 552_SWU004
Date | 2025-11-10
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
2 | 1985-07-25T06:47:00Z | 1985-07-26T04:03:00Z |  | 21:16 | TRUE
3 | 1985-08-12T02:55:00Z | 1985-08-20T19:28:00Z |  | 208:33 | TRUE
4 | 1985-09-03T05:20:00Z | 1985-09-04T00:42:00Z |  | 19:22 | TRUE
5 | 1985-09-04T01:01:00Z | 1985-09-04T03:56:00Z |  | 2:55 | FALSE | No events found even after make_more_sac run. In mseedfiles, no events with corresponding events in USGS catalog. Timestamps okay. Cannot confirm timing- within minutes of error. Keep for now.
6 | 1985-09-04T04:01:00Z | 1985-09-04T20:00:00Z |  | 15:59 | TRUE
7 | 1985-09-05T00:51:00Z | 1985-09-05T20:20:00Z |  | 19:29 | TRUE
8 | 1985-09-06T04:12:00Z | 1985-09-06T16:56:00Z |  | 12:44 | FALSE | No events found even after make_more_sac run. In mseedfiles, multiple events found but no events with corresponding events in USGS catalog. Timestamps okay- consistent. Cannot confirm timing, questionable. Keep for now.
12 | 1985-11-16T14:59:00Z | 1985-11-16T15:21:00Z |  | 0:22 | FALSE | No events found even after make_more_sac run. In mseedfiles, no events with corresponding events in USGS catalog. Timestamps okay. Cannot confirm timing Waveform noisy. Discard.

## 554_SWU006
Date | 2025-09-22
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
0 | 1986-02-26T08:02:00Z | 1986-05-08T12:43:00Z |  | 1708:41 | TRUE
1 | 1986-05-08T12:45:00Z | 1986-05-08T17:36:00Z |  | 4:51 | FALSE | No events found even after make_more_sac run. One clear event in mseedfiles with no corresponding events in USGS catalog. Cannot confirm timing. Discard for now.

## 556_SWU008
Date | 2025-09-23
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
0 | 1986-08-27T03:23:00Z | 1986-08-27T04:22:00Z |  | 0:59 | TRUE | Calibration test present starting at 03:43 - Service sheet is under tape 555_SWU007. Timing okay - exact timing unclear but within minutes of error. Keep.
2 | 1986-08-27T04:47:00Z | 1986-08-27T05:56:00Z |  | 1:09 | FALSE | No events found even after make_more_sac run. No clear events in mseed files. Waveform is noisy. Timing seems okay. Keep.
3 | 1986-08-27T06:06:00Z | 1986-09-08T09:56:00Z |  | 291:50 | TRUE

## 557_SWU009
Date | 2025-09-22
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
1 | 1986-11-28T05:39:00Z | 1987-01-07T09:24:00Z |  | 963:45 | TRUE

## 558_SWU010
Date | 2025-09-22
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
0 | 1987-04-14T04:59:00Z | 1987-05-27T01:18:00Z |  | 1028:19 | TRUE

## 559_SWU010
Date | 2025-09-22
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
0 | 1987-05-27T02:17:00Z | 1987-07-29T14:25:00Z |  | 1524:08 | TRUE

## 560_SWU012
Date | 2025-09-23
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
0 | 1987-07-30T08:58:00Z | 1987-09-18T09:40:00Z |  | 1200:42 | TRUE

## 562_SWU014
Date | 2025-09-26
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
0 | 1988-04-15T08:07:00Z | 1988-05-13T21:08:00Z |  | 685:01 | TRUE
1 | 1988-05-13T21:09:00Z | 1988-05-13T21:46:00Z |  | 0:37 | FALSE | No events found even after make_more_sac run. In mseed files, no events found. Cannot confirm timing. Discard
2 | 1988-05-13T21:51:00Z | 1988-05-14T12:27:00Z |  | 14:36 | FALSE | No events found even after make_more_sac run. In mseed files, a couple events found but with no corresponding events in USGS catalog. Cannot confirm timing. Discard.
3 | 1988-05-14T12:29:00Z | 1988-05-14T12:36:00Z |  | 0:07 | FALSE | No events found even after make_more_sac run. In mseed files, no events found. Cannot confirm timing. Discard
4 | 1988-07-12T03:03:00Z | 1988-07-12T14:36:00Z |  | 11:33 | FALSE | No clear event in sac files. In mseed files, one event found but with no clear corresponding events in USGS catalog. One possible event could correspond but is unclear. Cannot confirm timing. Discard for now. Maybe revisit if time allows.

## 564_SWU016
Date | 2025-09-24
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
0 | 1988-10-25T04:19:00Z | 1988-11-06T23:22:00Z |  | 307:03 | TRUE
1 | 1988-12-22T05:56:00Z | 1988-12-22T06:20:00Z |  | 0:24 | FALSE | No events found even after make_more_sac run. In mseed files, no events found. Cannot confirm timing. Discard
2 | 1988-12-22T06:54:00Z | 1988-12-22T07:34:00Z |  | 0:40 | FALSE | No events found even after make_more_sac run. In mseed files, no events found. Cannot confirm timing. Discard

## 565_SWU017
Date | 2025-09-23
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
0 | 1988-12-22T07:59:00Z | 1989-02-25T06:23:00Z |  | 1558:24 | TRUE

## 566_SWU018
Date | 2025-09-23
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
0 | 1989-03-17T05:41:00Z | 1989-03-17T06:11:00Z |  | 0:30 | FALSE | No events found even after make_more_sac run. No clear events in mseed files. Waveform very noisy. Cannot confirm timing. Discard.
1 | 1989-03-17T06:35:00Z | 1989-03-17T06:47:00Z |  | 0:12 | FALSE | No events found even after make_more_sac run. No clear events in mseed files. Waveform very very noisy- perhaps tape slippage. Cannot confirm timing. Discard.
2 | 1989-03-17T07:23:00Z | 1989-03-17T07:50:00Z |  | 0:27 | FALSE | No events found even after make_more_sac run. No clear events in mseed files. Waveform very very noisy- perhaps tape slippage. Cannot confirm timing. Discard.
3 | 1989-03-17T07:55:00Z | 1989-03-18T03:47:00Z |  | 19:52 | TRUE
4 | 1989-03-18T03:52:00Z | 1989-03-18T05:57:00Z |  | 2:05 | FALSE | Calibration test is present- exact timing is a bit unclear because date/clock required correcting. See Service sheet 565_SWU017. Overall, within minutes of error. Keep.
5 | 1989-03-18T06:06:00Z | 1989-03-18T07:20:00Z |  | 1:14 | FALSE | Calibration test is present- exact timing is a bit unclear because date/clock required correcting. See Service sheet 565_SWU017. Overall, within minutes of error. Keep.
6 | 1989-03-18T08:08:00Z | 1989-05-01T22:50:00Z |  | 1070:42 | TRUE

## 567_SWU019
Date | 2025-09-23
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
0 | 1989-05-02T19:23:00Z | 1989-07-14T14:27:00Z |  | 1747:04 | TRUE

## 568_SWU020
Date | 2025-09-24
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
0 | 1989-08-02T01:32:00Z | 1989-09-19T09:44:00Z |  | 1160:12 | TRUE

## 569_SWU021
Date | 2025-09-24
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
0 | 1989-11-02T04:18:00Z | 1989-11-02T12:50:00Z |  | 8:32 | TRUE
2 | 1989-11-02T13:49:00Z | 1989-12-13T02:00:00Z |  | 972:11 | TRUE
3 | 1989-12-13T02:10:00Z | 1989-12-26T01:51:00Z |  | 311:41 | TRUE

## 570_SWU022
Date | 2025-09-24
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
1 | 1989-12-26T03:28:00Z | 1990-03-10T08:19:00Z |  | 1780:51 | TRUE

## 571_SWU023
Date | 2025-09-25
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
2 | 1990-03-28T04:47:00Z | 1990-04-15T13:48:00Z |  | 441:01 | TRUE
3 | 1990-04-15T14:55:00Z | 1990-04-26T14:21:00Z |  | 263:26 | TRUE
4 | 1990-04-26T22:41:00Z | 1990-04-29T17:27:00Z |  | 66:46 | TRUE
5 | 1990-04-29T19:55:00Z | 1990-05-02T12:39:00Z |  | 64:44 | TRUE
6 | 1990-05-02T20:36:00Z | 1990-05-03T16:58:00Z |  | 20:22 | TRUE
7 | 1990-05-03T18:52:00Z | 1990-05-04T06:54:00Z |  | 12:02 | FALSE | No clear events even after make_more_sac run. Waveform very noisy/bad. Cannot Confirm timing.Discard.
8 | 1990-05-04T08:08:00Z | 1990-05-05T00:13:00Z |  | 16:05 | FALSE | No clear events even after make_more_sac run. Waveform very noisy/bad. Cannot Confirm timing.Discard.
9 | 1990-05-05T04:11:00Z | 1990-05-06T09:36:00Z |  | 29:25 | FALSE | No clear events even after make_more_sac run. Waveform very noisy/bad. Cannot Confirm timing.Discard.
10 | 1990-05-06T10:09:00Z | 1990-05-06T11:00:00Z |  | 0:51 | FALSE | No clear events even after make_more_sac run. Waveform very noisy/bad. Cannot Confirm timing.Discard.
11 | 1990-05-06T13:49:00Z | 1990-05-25T13:05:00Z |  | 455:16 | TRUE
12 | 1990-05-25T16:24:00Z | 1990-05-28T01:45:00Z |  | 57:21 | TRUE
13 | 1990-05-28T16:34:00Z | 1990-06-06T16:40:00Z |  | 216:06 | TRUE
18 | 1990-06-07T00:56:00Z | 1990-06-09T18:11:00Z |  | 65:15 | TRUE

## 572_SWU024
Date | 2025-09-25
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
3 | 1990-06-12T02:24:00Z | 1990-07-26T04:52:00Z |  | 1058:28 | TRUE

## 573_SWU025
Date | 2025-09-25
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
0 | 1990-07-26T04:48:00Z | 1990-08-10T19:22:00Z |  | 374:34 | TRUE
1 | 1990-11-30T00:41:00Z | 1990-11-30T01:00:00Z |  | 0:19 | FALSE | No clear events even after make_more_sac run. Waveform very noisy/bad. Cannot Confirm timing. Discard.
2 | 1990-08-10T20:39:00Z | 1990-08-10T21:20:00Z | INCONSISTENT | 0:41 | FALSE | No clear events even after make_more_sac run. Waveform very noisy/bad. Cannot Confirm timing. Discard.

## 574_SWU026
Date | 2025-09-25
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
3 | 1990-09-26T07:40:00Z | 1990-10-03T03:23:00Z |  | 163:43 | TRUE
5 | 1990-11-08T05:47:00Z | 1990-11-08T05:53:00Z |  | 0:06 | FALSE | No clear events even after make_more_sac run. No events in mseedfiles. Cannot Confirm timing. Discard.
6 | 1990-11-08T06:01:00Z | 1990-12-19T00:16:00Z |  | 978:15 | TRUE

## 575_SWU027
Date | 2025-09-25
span | start | end | comment | Span Length (hh:mm:ss) | Verified Time | Notes
2 | 1990-12-19T04:56:00Z | 1991-02-20T05:35:00Z |  | 1512:39 | TRUE