## Tape QC Tracking-Page
| Tape metadata |  |  |  |  | Initial time track decoding result |  |  | QC Review and clock corrections
Catalog # | Station | Reel # | Phase | Start from notes | End from notes | Start decoded | End decoded | Decoding notes | Progess | Moved to completed folder | Notes | Start Date/Time | End Date/Time | Remarks
1 | AKU | 1 | 1 | 1972-07-26 | 1972-09-30 | 1972-07-26 | 1972-07-31 | Only 5 days of data present | In Progress | FALSE |  | 2026-01-14
2 | AKU | 2 | 1 | 1972-09-30 | 1972-12-09 | 1972-10-01 | 1972-12-09 |  | Completed | TRUE |  | 2025-11-10 | 2025-11-10
3 | AKU | 3 | 1 | 1972-12-09 | 1973-02-20 | 1972-12-09 | 1973-02-20 |  | Completed | TRUE | Timing between 2/12 and 2/16 is unconfirmed but seems okay and within minutes of error. | 2025-11-13 | 2025-11-16
4 | AKU | 4 | 1 | 1973-02-20 | 1973-05-04 | 1973-02-20 | 1973-05-04 |  | Completed | TRUE |  | 2025-11-10 | 2025-11-10
5 | AKU | 5 | 1 | 1973-05-04 | 1973-07-17 | 1973-05-19 | 1973-07-16 | jumps | Completed | TRUE | Long period channels and frequently SHE contains period spikes | 2025-11-13 | 2025-11-16
6 | AKU | 6 | 1 | 1973-07-17 | 1973-10-01 | 1973-07-17 | 1973-10-01 |  | Completed | TRUE |  | 2025-11-10 | 2025-11-13
7 | AKU | 7 | 1 | 1973-10-10 | 1973-12-18 |  |  | fragmented | In Progress | FALSE
8 | AKU | 8 | 1 | 1973-12-19 | 1974-03-08 | 1973-12-19 | 1974-03-09 |  | Completed | TRUE |  | 2025-11-10 | 2025-11-13
9 | AKU | 9 | 1 | 1974-04-09 | 1974-06-27 |  |  | fragmented |  | FALSE
10 | AKU | 10 | 1 | 1974-06-27 | 1974-09-09 | 1974-06-27 | 1974-09-08 | fragmented | Completed | TRUE | Fragmented, noisy. Span 41 contains calibration test on 7/8/1974 with no corresponding service sheet. | 2025-11-16 | 2025-11-17
11 | AKU | 11 | 2 | 1974-09-09 | 1974-11-24 | 1974-09-09 | 1974-11-21 |  | Completed | TRUE | Note: Several channels contain periodic spikes- perhaps crosstalk with time channel | 2025-10-06 | 2025-10-06 | First good tape
12 | AKU | 12 | 2 | 1974-11-24 | 1975-01-11 |  |  | Unreadable | Unrecoverable | TRUE
13 | AKU | 13 | 2 | 1975-03-12 | 1975-05-22 | 1975-03-12 | 1975-05-22 | fragmented | Completed | TRUE | Fragmented. | 2025-11-04 | 2025-11-07
14 | AKU | 14 | 2 | 1975-05-22 | 1975-08-02 | 1975-05-22 | 1975-08-02 |  | Completed | TRUE |  | 2025-10-07 | 2025-10-08
15 | AKU | 15 | 2 | 1975-08-08 | 1976-02-08 | 1975-12-01 | 1976-02-08 | large gap: Aug.10-Dec.1 | Completed | TRUE | Large gap: 8/10 - 12/1. Waveform often contains periodic spikes/noise across all channels. Towards the end of span 7 appears to have potentially clock drift- service sheet indicated multiple corrections. | 2025-10-06 | 2025-10-06 | Stopped 9/11 until 12/2
16 | AKU | 16 | 2 | 1976-02-10 | 1976-04-19 | 1976-02-08 | 1976-04-20 | some adjustments | Completed | TRUE | Long period low gain and LME noisy | 2025-10-08 | 2025-10-12
17 | AKU | 17 | 2 | 1976-05-21 | 1976-08-01 | 1976-05-22 | 1976-08-01 |  | Completed | TRUE | Span 3 timing verified by earthquakes. Calibration test times in this span are not correct- see service sheet. | 2025-10-06 | 2025-10-06
18 | AKU | 18 | 2 | 1976-08-01 | 1976-11-05 | 1976-08-01 | 1976-09-17 | starts late and ends early | Completed | TRUE |  | 2025-11-02 | 2025-11-02
19 | AKU | 19 | 2 | 1976-11-06 | 1977-01-18 | 1976-11-06 | 1977-01-17 |  | Completed | TRUE | Noisy. Long period vertical component and sometimes short period medium gain very noisy- contains periodic spikes. Data after 12/30 are not earthquake verfied but timestamps seem good. | 2025-10-10 | 2025-10-12
20 | AKU | 20 | 2 | 1977-01-18 | 1977-04-11 | 1977-01-18 | 1977-02-15 |  | Completed | TRUE |  | 2025-11-02 | 2025-11-04 | Tape ran out 4/11
21 | AKU | 21 | 2 | 1977-05-03 | 1977-07-12 | 1977-05-03 | 1977-07-12 |  | Completed | TRUE | Long period channels often noisy- contains periodic spikes/signal | 2025-10-16 | 2025-10-17
22 | AKU | 22 | 2 | 1977-08-08 | 1977-10-20 | 1977-08-08 | 1977-10-20 |  | Completed | TRUE | Long period channels very noisy | 2025-10-13 | 2025-10-13
23 | AKU | 23 | 2 | 1977-10-21 | 1978-01-11 |  |  | fragmented | In Progress | FALSE |  | 2025-11-18
24 | AKU | 24 | 2 | 1978-01-12 | 1978-03-24 | 1978-01-12 | 1978-03-25 | fragmented | Completed | TRUE |  | 2025-11-04 | 2025-11-18
25 | AKU | 25 | 2 | 1978-05-19 | 1978-08-04 | 1978-05-19 | 1978-08-04 | jumps | Completed | TRUE | Data 5/31-6/6 has unconfirmed timing but timestamps seems good. | 2025-10-21 | 2025-10-24
26 | AKU | 26 | 2 | 1978-08-04 | 1978-10-16 | 1978-08-04 | 1978-10-14 |  | Completed | TRUE |  | 2025-10-15 | 2025-10-16
27 | AKU | 27 | 2 | 1978-10-18 | 1979-01-16 | 1978-10-18 | 1979-01-17 |  | Completed | TRUE | Span 1 timestamps seems good and consistent but unable to verify. | 2025-10-07 | 2025-10-10
28 | AKU | 28 | 2 | 1979-01-17 | 1979-03-30 | 1979-01-17 | 1979-03-29 |  | Completed | TRUE | All channels are very noisy- contains periodi spikes and large signals. Spikes are most prominent on short period medium gain and long period channels. | 2025-10-07 | 2025-10-07
29 | AKU | 29 | 2 | 1979-05-14 | 1979-08-07 | 1979-05-14 | 1979-08-07 |  |  | FALSE
30 | AKU | 30 | 2 | 1979-08-08 | 1980-01-01 | 1979-08-08 | 1980-01-02 |  |  | FALSE
31 | AKU | 31 | 2 | 1980-01-03 | 1980-03-16 | 1980-01-03 | 1980-03-14 |  | Completed | TRUE | Data after 3/1 has unconfirmed timing but seems good. | 2025-10-07 | 2025-10-07
32 | AKU | 32 | 2 | 1980-03-16 | 1980-05-28 | 1980-03-17 | 1980-05-27 |  | Completed | TRUE |  | 2025-10-08 | 2025-10-08
33 | AKU | 33 | 2 | 1980-05-28 | 1980-08-08 | 1980-06-06 |  | fragmented | Needs to be revisted | FALSE |  | 2025-11-05 | 2025-11-20
34 | AKU | 34 | 2 | 1980-08-08 | 1980-10-09 | 1980-08-08 | 1980-10-19 |  | Completed | TRUE |  | 2025-10-30 | 2025-11-02 | Bad tape? [think start date should be Aug 9] first calibration:1980-08-09
35 | AKU | 35 | 2 | 1980-10-09 | 1980-12-30 | 1980-10-18 | 1980-12-30 |  | Completed | TRUE |  | 2025-10-13 | 2025-10-17
36 | AKU | 36 | 2 | 1980-12-30 | 1981-03-22 | 1980-12-30 | 1981-03-22 |  | Completed | TRUE | Long period channels and SM often contain periodic spikes. | 2025-10-12 | 2025-10-13
37 | AKU | 37 | 2 | 1981-04-15 | 1981-06-26 | 1981-04-15 | 1981-06-27 | jumps |  | FALSE
38 | AKU | 38 | 2 | 1981-06-26 | 1981-09-05 | 1981-06-27 |  | fragmented |  | FALSE
39 | AKU | 39 | 2 | 1981-09-06 | 1981-11-18 |  |  | fragmented |  | FALSE
40 | AKU | 40 | 2 | 1981-11-19 | 1982-01-30 | 1981-11-19 | 1982-01-30 |  | Completed | TRUE | Most channels noisy- long period channels very noisy. Timing from 11/19-12-18 seems good and consistent with service sheet but unverified by events | 2025-11-30 | 2025-12-01
41 | AKU | 41 | 2 | 1982-01-31 | 1982-04-13 |  |  |  |  | FALSE
42 | AKU | 42 | 2 | 1982-04-13 | 1982-06-24 | 1982-04-13 | 1982-06-24 |  | Completed | TRUE | Long period low gain and vertical component often contains spikes | 2025-10-13 | 2025-10-13
43 | AKU | 43 | 2 | 1982-06-24 | 1982-09-04 | 1982-06-24 | 1982-09-04 |  | Completed | TRUE | Long period and SM often noisy | 2025-10-14 | 2025-10-14
44 | AKU | 44 | 2 | 1982-09-04 | 1982-11-16 | 1982-09-04 | 1982-11-15 |  | Completed | TRUE | SME and long period channels often noisy- contains periodic spikes. | 2025-10-14 | 2025-10-17
45 | AKU | 45 | 2 | 1982-11-16 | 1983-02-17 | 1982-11-16 | 1983-02-18 | fragmented | Completed | TRUE | Long period channels often noisy with periodic spikes. | 2025-11-21 | 2025-11-21
46 | AKU | 46 | 2 | 1983-02-18 | 1983-04-30 | 1983-02-18 | 1983-05-02 | jumps, lots of |  | FALSE
47 | AKU | 47 | 2 | 1983-05-01 | 1983-07-11 |  |  | fragmented |  | FALSE
48 | AKU | 48 | 2 | 1983-07-12 | 1983-09-22 |  |  | fragmented |  | FALSE
49 | AKU | 49 | 2 | 1983-10-21 | 1984-01-23 | 1983-10-21 | 1984-01-24 | gaps | Completed | TRUE | Contains multiple gaps: 11/30-12/13; 1/11-1/22. SHE and long period channels very noisy | 2025-10-17 | 2025-10-21
50 | AKU | 50 | 2 | 1984-01-24 | 1984-04-05 | 1984-01-24 | 1984-04-05 |  | Completed | TRUE | Long period channels often noisy | 2025-10-16 | 2025-10-16
51 | AKU | 51 | 2 | 1984-04-05 | 1984-06-16 | 1984-04-05 | 1984-06-16 |  | Completed | TRUE | Short period medium gain and Long period channels noisy- contains periodic spikes. | 2025-10-13 | 2025-10-14
52 | AKU | 52 | 2 | 1984-06-17 | 1984-09-10 | 1984-06-16 | 1984-08-28 |  | Completed | TRUE | Long period channels and short period medium gain often noisy- contains periodid spikes. Service sheet under 051_AKU051 indicates start dateof 6/16 and remark "x" seems to suggest end time for recorded data is 8/28. | 2025-10-30 | 2025-11-04
53 | AKU | 53 | 2 | 1984-09-10 | 1984-12-08 | 1984-09-10 | 1984-11-10 |  | Completed | TRUE |  | 2025-10-30 | 2025-10-30
54 | AKU | 54 | 2 | 1984-12-08 | 1985-02-22 | 1984-12-08 | 1985-02-22 |  | Completed | TRUE | Span 5 is unverified but timestamps seem good and consistent with service sheet end times . Large gap from 12/21-2/20. | 2025-10-22 | 2025-10-24
55 | AKU | 55 | 2 | 1985-02-22 | 1985-05-06 | 1985-02-22 | 1985-05-11 |  | In Progress | FALSE | Note: Timing after 3/11 is questionable and very very noisy. Spans 4,5 timestamps seem ok | 2025-11-07 | 2025-11-09
56 | AKU | 56 | 2 | 1985-05-07 | 1985-07-22 | 1985-05-07 | 1985-07-21 |  | Completed | TRUE | SHN, short period medium gain and long period channels often noisy. | 2025-10-21 | 2025-10-21
57 | AKU | 57 | 2 | 1985-07-22 | 1985-10-21 | 1985-07-22 | 1985-09-20 | fragmented |  | FALSE
58 | AKU | 58 | 2 | 1985-10-23 | 1986-01-14 | 1985-10-23 | 1986-01-13 | lots of adjustments | Completed | TRUE | Long period channels and some short period channels very noisy- contains periodic spikes. | 2025-10-14 | 2025-10-14
59 | AKU | 59 | 2 | 1986-01-15 | 1986-04-15 | 1986-01-14 | 1986-04-12 | fragmented, end time uncertain | In Progress | FALSE |  | 2025-11-17
60 | AKU | 60 | 2 | 1986-04-15 | 1986-07-11 | 1986-04-15 | 1986-07-07 |  | Completed | TRUE | Most channels very noisy/bad- SHV okay, sometimes SHE, SMV, LHN okay. | 2025-10-28 | 2025-10-30
61 | AKU | 61 | 2 | 1986-09-12 | 1986-11-24 | 1986-09-12 | 1986-11-24 |  | Completed | TRUE | Most channels very noisy- contains periodic spikes/signal | 2025-10-14 | 2025-10-15
62 | AKU | 62 | 2 | 1986-11-25 | 1987-02-06 | 1986-11-25 | 1987-02-05 |  | Completed | TRUE | Most channels very noisy- contains periodic spikes/signal. | 2025-10-28 | 2025-10-30
63 | AKU | 63 | 2 | 1987-02-07 | 1987-04-20 | 1987-02-06 | 1987-04-19 |  | Completed | TRUE | Most channels very noisy | 2025-10-24 | 2025-10-30
64 | AKU | 64 | 2 | 1987-04-20 | 1987-07-02 | 1987-04-20 | 1987-07-01 |  | Completed | TRUE |  | 2025-10-27 | 2025-10-28
65 | AKU | 65 | 2 | 1987-07-02 | 1987-09-13 | 1987-07-02 | 1987-09-13 |  | Completed | TRUE | Most channels noisy | 2025-10-21 | 2025-10-26 | re-read of good tape as a digitzer test
66 | AKU | 66 | 2 | 1987-09-14 | 1987-11-25 | 1987-09-14 | 1987-12-04 | fragmented, jumps |  | FALSE
67 | AKU | 67 | 2 | 1987-12-28 | 1988-03-22 | 1988-11-24 | 1987-12-14 | bogus times, small fragments | Needs to be revisted | FALSE | LOW PRIORITY: Timing is highly uncertain. Spans all very short (less than 7 hours), is likely bad tape. Span 8 may be okay | 2025-10-30 | 2025-10-30 | Bad tape
68 | AKU | 68 | 2 | 1988-03-22 | 1988-06-03 | 1988-03-22 | 1988-06-03 |  |  | FALSE |  |  |  | Half or more of tape was wrong day
69 | AKU | 69 | 2 | 1988-06-03 | 1988-08-02 | 1988-06-03 | 1988-08-14 | fragmented but consistent |  | FALSE
70 | AKU | 70 | 2 | 1988-08-02 | 1988-08-21 | 1988-08-21 | 1988-11-02 | fragmented but consistent | Needs to be revisted | FALSE | LOW PRIORITY: Service sheet indicates bad tape. Mostly all channels only noise and spikes. However, span 3 may be okay. | 2025-10-26 | 2025-10-26 | Crossed out box label
71 | AKU | 71 | 2 | 1988-11-02 | 1989-01-15 | 1988-11-02 | 1989-01-10 |  | Unrecoverable | TRUE | Note: Service sheets indicate bad tape. All channels only noise and occasional spikes. | 2025-10-26 | 2025-10-28 | Crossed out box label
72 | AKU | 72 | 2 | 1989-01-15 | 1989-03-30 | 1989-12-30 | 1989-03-30 | fragmented, jumps | Unrecoverable | TRUE | Note: Service sheets indicate bad tape. All channels only noise and occasional spikes. | 2025-10-24 | 2025-10-24 | Crossed out box label
73 | AKU | 73 | 2 | 1989-03-30 | 1989-06-11 | 1989-03-30 | 1989-06-11 |  | Unrecoverable | TRUE | Note: Service sheets indicate bad tape. All channels only noise and occasional spikes. | 2025-10-24 | 2025-10-24 | Crossed out box label
74 | AKU | 74 | 2 | 1989-06-11 | 1989-08-21 | 1989-06-11 | 1989-08-23 |  | Unrecoverable | TRUE | Note: Service sheets indicate bad tape. Timestamps are good/consistent. All channels only noise and occasional spikes. | 2025-10-24 | 2025-10-24 | Crossed out box label
75 | AKU | 75 | 2 | 1989-08-24 | 1989-11-04 | 1989-08-24 | 1989-11-04 |  | Unrecoverable | TRUE | Note: All channels only noisy, occasional spikes, and tape slippage from the time channel. | 2025-10-24 | 2025-10-24 | Crossed out box label
76 | AKU | 76 | 2 | 1989-11-05 | 1990-01-19 | 1989-11-05 | 1990-01-17 | fragmented but consistent | Unrecoverable | TRUE | Note: All channels only noise and occasional spikes. | 2025-10-24 | 2025-10-24 | Crossed out box label
77 | AKU | 77 | 2 | 1990-01-19 | 1990-06-22 | 1990-01-19 | 1990-06-22 | highly fragmented | Unrecoverable | TRUE | Note: All channels only noise and occasional spikes. | 2025-10-24 | 2025-10-24 | Crossed out box label
78 | AKU | 78 | 2 | 1990-06-22 | 1990-09-03 | 1990-06-22 | 1990-09-02 | highly fragmented | Unrecoverable | TRUE | Note: All channels only noise and occasional spikes. | 2025-10-24 | 2025-10-24 | Crossed out box label
79 | AKU | 79 | 2 | 1990-09-03 | 1990-11-15 | 1990-09-03 | 1990-11-15 | highly fragmented | Unrecoverable | TRUE | Note: All channels only noise and occasional spikes. | 2025-10-24 | 2025-10-24 | Crossed out box label
80 | AKU | 80 | 2 | 1990-11-15 | 1991-02-01 | 1990-11-15 | 1991-02-01 | highly fragmented | Unrecoverable | TRUE | Note: All channels only noise and occasional spikes. | 2025-10-24 | 2025-10-24 | Crossed out box label
99 | AKU | 99 | 3 | 1994-09-12 | 1994-11-22 | 1994-09-12 | 1994-11-22 | AKUD | Completed | FALSE |  | 2026-01-16 | 2026-01-26
100 | AKU | 100 | 3 | 1994-11-24 | 1995-02-04 | 1994-11-24 | 1995-02-04 | AKUD | Completed | FALSE |  | 2026-01-16 | 2026-01-26
101 | AKU | 101 | 3 | 1995-02-05 | 1995-04-19 | 1995-02-05 | 1995-04-19 | AKUD | Completed | FALSE | not great overall, but worth keeping | 2026-01-16 | 2026-01-26
102 | AKU | 102 | 3 | 1995-05-03 | 1995-07-13 | 1995-05-03 | 1995-07-13 | AKUD | Completed | FALSE |  | 2026-01-16
103 | AKU | 103 | 3 | 1995-07-25 | 1995-09-25 | 1995-07-25 | 1995-09-25 |  | In Progress | FALSE |  | 2026-01-16
104 | AKU | 104 | 3 | 1995-09-25 | 1995-12-06 | 1995-09-25 | 1995-12-06 |  | In Progress | FALSE |  | 2026-01-16
105 | AKU | 105 | 3 | 1995-12-06 | 1996-02-16 | 1995-12-06 | 1996-02-16 |  | In Progress | FALSE |  | 2026-01-16
106 | AKU | 106 | 3 | 1996-02-16 | 1996-04-30 | 1996-02-16 | 1996-04-30 |  | In Progress | FALSE |  | 2026-01-16
107 | AKU | 107 | 3 | 1996-05-02 | 1996-07-30 | 1996-05-02 | 1996-07-30 |  | In Progress | FALSE |  | 2026-01-16
108 | AKU | 108 | 3 | 1996-08-01 | 1996-10-11 | 1996-08-01 | 1996-10-11 | Hot13 | Completed | FALSE |  | 2026-01-16
109 | AKU | 109 | 3 | 1996-10-11 | 1997-02-11 | 1996-10-11 | 1997-02-11 | Hot13 | Completed | FALSE | Gap between 11-19 and 1-9. | 2026-01-16
110 | AKU | 110 | 3 | 1997-02-11 | 1997-04-25 | 1997-02-11 | 1997-04-25 | Hot13 | Completed | FALSE |  | 2026-01-16
111 | AKU | 111 | 3 | 1997-04-25 | 1997-07-06 | 1997-04-25 | 1997-07-06 | Hot13 | Completed | FALSE |  | 2026-01-16
112 | AKU | 112 | 3 | 1997-07-11 | 1997-11-29 | 1997-07-11 | 1997-11-29 | Hot13 | Completed | FALSE |  | 2026-01-16
113 | AKU | 113 | 3 | 1997-12-03 | 1998-02-13 | 1997-12-03 | 1998-02-13 | Hot13 | Completed | FALSE |  | 2026-01-16
114 | AKU | 114 | 3 | 1998-02-13 | 1998-04-26 | 1998-02-13 | 1998-04-26 | Hot13 | Completed | FALSE |  | 2026-01-16
115 | AKU | 115 | 3 | 1998-05-06 | 1998-07-17 | 1998-05-06 | 1998-07-17 | Hot13 | Completed | FALSE |  | 2026-01-16
116 | AKU | 116 | 3 | 1998-07-17 | 1998-09-26 | 1998-07-17 | 1998-09-26 | Hot13 | Completed | FALSE |  | 2026-01-16
117 | AKU | 117 | 3 | 1998-09-28 | 1998-12-08 | 1998-09-28 | 1998-12-08 |  | In Progress | FALSE |  | 2026-01-16
118 | AKU | 118 | 3 | 1998-12-09 | 1999-02-18 | 1998-12-09 | 1999-02-18 |  | In Progress | FALSE |  | 2026-01-16
144 | CUZ | 1 | 1 | 1966-02-16 | 1966-04-28 |  |  |  |  | FALSE
145 | CUZ | 2 | 1 | 1966-04-28 | 1966-07-26 |  |  | ok, 2s per pulse |  | FALSE
146 | CUZ | 3 | 1 | 1966-07-26 | 1966-10-28 |  |  | 1s per pulse, relatively little data? |  | FALSE
147 | CUZ | 4 | 1 | 1966-10-28 | 1967-01-18 |  |  |  |  | FALSE
148 | CUZ | 5 | 1 | 1967-01-18 | 1967-04-30 |  |  |  |  | FALSE
149 | CUZ | 6 | 1 | 1967-05-03 | 1967-07-27 |  |  |  |  | FALSE
150 | CUZ | 7 | 1 | 1967-09-18 | 1967-12-04 |  |  |  |  | FALSE
151 | CUZ | 8 | 1 | 1967-12-12 | 1968-02-24 |  |  |  |  | FALSE
152 | CUZ | 9 | 1 | 1968-02-24 | 1968-05-01 |  |  |  |  | FALSE
153 | CUZ | 10 | 1 | 1968-06-17 | 1968-08-26 |  |  | issues with lock-on and fragmentation |  | FALSE
154 | CUZ | 11 | 1 | 1968-08-29 | 1968-11-08 |  |  | ok with 2025-12-07 code update |  | FALSE
155 | CUZ | 12 | 1 | 1968-11-08 | 1969-01-19 |  |  | ok with 2025-12-07 code update |  | FALSE
156 | CUZ | 13 | 1 | 1969-01-19 | 1969-03-31 |  |  |  |  | FALSE
157 | CUZ | 14 | 1 | 1969-03-31 | 1969-06-10 |  |  |  |  | FALSE
158 | CUZ | 15 | 1 | 1969-06-10 | 1969-08-21 |  |  |  |  | FALSE
159 | CUZ | 16 | 1 | 1969-08-21 | 1969-11-04 |  |  |  |  | FALSE
160 | CUZ | 17 | 1 | 1969-11-04 | 1970-01-15 |  |  | ok, no h marks but dec. fine |  | FALSE
161 | CUZ | 18 | 1 | 1970-01-25 | 1970-04-07 |  |  |  |  | FALSE
162 | CUZ | 19 | 1 | 1970-04-17 | 1970-06-28 |  |  |  |  | FALSE
163 | CUZ | 20 | 1 | 1970-06-30 | 1970-09-08 |  |  |  |  | FALSE
164 | CUZ | 21 | 1 | 1970-09-08 | 1970-11-18 |  |  |  |  | FALSE
165 | CUZ | 22 | 1 | 1970-11-18 | 1971-03-06 |  |  |  |  | FALSE
166 | CUZ | 23 | 1 | 1971-03-06 | 1971-05-17 |  |  |  |  | FALSE
167 | CUZ | 24 | 1 | 1971-05-17 | 1971-07-28 |  |  |  |  | FALSE
168 | CUZ | 25 | 1 | 1971-07-28 | 1971-10-12 |  |  |  |  | FALSE
169 | CUZ | 26 | 1 | 1971-10-20 | 1972-01-02 |  |  |  |  | FALSE
170 | CUZ | 27 | 1 | 1972-01-05 | 1972-02-25 |  |  | bad, h marks rep. every 25-48m |  | FALSE
171 | CUZ | 28 | 1 | 1972-02-25 | 1972-05-07 |  |  |  |  | FALSE
172 | CUZ | 29 | 1 | 1972-05-07 | 1972-07-18 |  |  |  |  | FALSE
173 | CUZ | 30 | 1 | 1972-08-12 | 1972-10-18 |  |  |  |  | FALSE
174 | CUZ | 31 | 1 | 1972-10-18 | 1972-12-25 |  |  |  |  | FALSE
175 | CUZ | 32 | 1 | 1972-12-26 | 1973-02-27 | 1972-12-26 | 1973-01-03 | processing preliminary, gen1 clock |  | FALSE
176 | CUZ | 33 | 2 | 1973-03-12 | 1973-04-06 | 1973-03-13 | 1973-03-31 | fragmented, stuttering tape |  | FALSE
177 | CUZ | 34 | 2 | 1973-04-06 | 1973-06-18 | 1973-04-10 | 1973-04-17 | why so short? |  | FALSE
178 | CUZ | 35 | 2 | 1973-06-19 | 1973-09-01 | 1973-08-07 | 1973-09-01 | fragmented, extremely noisy |  | FALSE
179 | CUZ | 36 | 2 | 1973-09-01 | 1973-11-24 | 1973-09-01 | 1973-10-30 | very fragmented |  | FALSE
180 | CUZ | 37 | 2 | 1973-11-24 | 1974-02-10 | 1973-12-13 | 1974-02-10 | fragmented, early data mangled |  | FALSE
181 | CUZ | 38 | 2 | 1974-02-10 | 1974-04-23 | 1974-02-10 | 1974-04-23 |  | In Progress | FALSE |  | 2025-10-02 |  | Had note "First good tape" on box
182 | CUZ | 39 | 2 | 1974-04-23 | 1974-07-07 | 1974-04-23 | 1974-07-07 |  | In Progress | FALSE |  | 2025-10-02
183 | CUZ | 40 | 2 | 1974-07-07 | 1974-09-18 | 1974-07-07 | 1974-08-12 | data after 08-12 unusable | In Progress | FALSE |  | 2025-10-18
184 | CUZ | 41 | 2 | 1974-09-18 | 1974-11-30 | 1974-09-18 | 1974-11-30 |  | Completed | TRUE |  | 2025-09-26 | 2025-09-26
185 | CUZ | 42 | 2 | 1994-11-30 | 1975-02-15 | 1974-11-30 | 1975-02-15 |  | Completed | TRUE |  | 2025-09-26 | 2025-09-26
186 | CUZ | 43 | 2 | 1975-02-15 | 1975-05-01 | 1975-02-15 | 1975-05-01 |  | Completed | TRUE | many spikes near end of span 0, fixed in span 1 | 2025-09-26 | 2025-09-28
187 | CUZ | 44 | 2 | 1975-06-02 | 1975-08-15 | 1975-06-02 | 1975-08-15 |  | Completed | TRUE |  | 2025-09-26 | 2025-09-28
188 | CUZ | 45 | 2 | 1975-08-16 | 1975-10-29 | 1975-08-16 | 1975-10-29 |  | Completed | TRUE | first span shows clock drift, later corrected | 2025-09-28 | 2025-09-28
189 | CUZ | 46 | 2 | 1975-11-02 | 1976-01-15 | 1975-11-02 | 1976-01-15 | ~6 day gap | Completed | TRUE |  | 2025-09-29 | 2025-10-02
190 | CUZ | 47 | 2 | 1976-01-15 | 1976-03-29 | 1976-01-16 | 1976-03-29 |  | Completed | TRUE |  | 2025-09-29 | 2025-10-02 | tape was read 3 times
191 | CUZ | 48 | 2 | 1976-03-29 | 1976-06-12 | 1976-03-29 | 1976-06-10 | fragmented |  | FALSE
192 | CUZ | 49 | 2 | 1976-06-12 | 1976-09-29 | 1976-06-13 | 1976-08-26 | fragmented, short |  | FALSE
193 | CUZ | 50 | 2 | 1976-09-29 | 1976-12-13 | 1976-09-29 | 1976-12-12 |  | Completed | TRUE |  | 2025-10-03 | 2025-10-03
194 | CUZ | 51 | 2 | 1976-12-13 | 1977-03-01 | 1976-12-13 | 1977-02-17 |  | Completed | TRUE |  | 2025-10-03 | 2025-10-03
195 | CUZ | 52 | 2 | 1977-05-21 | 1977-08-04 | 1977-05-21 | 1977-08-03 |  | Completed | TRUE |  | 2025-10-03 | 2025-10-03
196 | CUZ | 53 | 2 | 1977-08-04 | 1977-10-18 | 1977-08-04 | 1977-09-24 |  | Completed | TRUE | Data gap from 8/17 - 9/16. | 2025-10-01 | 2025-10-01
197 | CUZ | 54 | 2 | 1977-10-19 | 1978-01-01 | 1977-10-19 | 1978-01-01 |  | Completed | TRUE |  | 2025-10-01 | 2025-10-01 | used in early digitization test, read twice
198 | CUZ | 55 | 2 | 1978-01-02 | 1978-03-17 | 1978-01-02 | 1978-03-17 |  | Completed | TRUE | Long period low gain noisy | 2025-09-29 | 2025-09-29 | used in early digitization test, read twice
199 | CUZ | 56 | 2 | 1978-03-17 | 1978-05-30 | 1978-03-17 | 1978-05-31 |  | Completed | TRUE |  | 2025-10-01 | 2025-10-03
200 | CUZ | 57 | 2 | 1978-06-15 | 1978-08-29 | 1978-06-17 | 1978-08-29 |  | Completed | TRUE | Long period low gain noisy | 2025-09-29 | 2025-09-29
201 | CUZ | 58 | 2 | 1978-11-23 | 1979-01-27 | 1978-11-13 | 1979-01-26 |  | Completed | TRUE | Long period low gain nosiy. Most channels often contains periodic noise signal. | 2025-09-28 | 2025-09-28
202 | CUZ | 68 | 2 | 1980-12-26 | 1981-03-20 | 1980-12-26 | 1981-03-20 |  | Completed | TRUE | All channels appears to often contain some periodic noise/spikes | 2025-09-28 | 2025-09-29 | Gap in time and CUZ numbers
203 | CUZ | 69 | 2 | 1981-03-23 | 1981-05-16 | 1981-03-23 | 1981-06-05 |  | Completed | TRUE | Long period low gain noisy | 2025-09-26 | 2025-09-26
204 | CUZ | 70 | 2 | 1981-06-06 | 1981-09-12 | 1981-06-06 | 1981-09-12 | some gaps | Needs to be revisted | FALSE | Note: Span 1 timing appears good but it not officially confirmed and should be revisited. Span 13 is wrong- overlaps with next tape | 2025-10-03 | 2025-10-04
205 | CUZ | 71 | 2 | 1981-09-20 | 1981-11-30 | 1981-09-04 | 1981-11-28 |  | Completed | TRUE |  | 2025-10-04 | 2025-10-05 | Double-check start time
206 | CUZ | 72 | 2 | 1981-12-06 | 1982-02-18 | 1981-12-06 | 1982-02-20 |  | Completed | TRUE |  | 2025-10-03 | 2025-10-03
207 | CUZ | 73 | 2 | 1982-03-09 | 1982-06-12 | 1982-03-09 | 1982-05-23 |  | Completed | TRUE |  | 2025-10-01 | 2025-10-01
208 | CUZ | 74 | 2 | 1982-07-08 | 1982-09-01 | 1982-07-08 | 1982-09-21 |  | Completed | TRUE |  | 2025-10-01 | 2025-10-01
209 | CUZ | 75 | 2 | 1982-09-24 | 1982-12-06 | 1982-09-24 | 1982-12-07 |  | Completed | TRUE |  | 2025-10-04 | 2025-10-05
210 | CUZ | 76 | 2 | 1982-12-15 | 1983-02-27 | 1982-12-15 | 1983-02-27 |  | Completed | TRUE | Long period low gain noisy | 2025-09-26 | 2025-09-26
211 | CUZ | 77 | 2 | 1983-02-27 | 1983-05-13 | 1983-02-27 | 1983-05-12 |  | Completed | TRUE | Long period low gain noisy | 2025-10-04 | 2025-10-04
212 | CUZ | 78 | 2 | 1983-05-13 | 1983-07-25 | 1983-05-13 | 1983-07-27 | after lots of corrections | Completed | TRUE | Waveforms often noisy. | 2025-10-04 | 2025-10-04
213 | CUZ | 79 | 2 | 1983-08-05 | 1984-07-30 | 1983-09-14 | 1984-02-16 | large gap |  | FALSE
214 | CUZ | 82 | 2 | 1984-07-30 | 1984-10-12 | 1984-07-30 | 1984-09-02 | some gaps | Completed | TRUE | Data gap from 8/19 - 8/23. Frequently all channels contain periodic noise/signal/spikes. | 2025-09-29 | 2025-10-01 | Gap in time and CUZ numbers
215 | CUZ | 83 | 2 | 1984-12-10 | 1985-02-12 | 1984-12-10 | 1984-12-12 | only 2 days??!! | Unrecoverable | TRUE | Timing cannot be confirmed. Only 2 days. | 2025-10-05 | 2025-10-06
216 | CUZ | 84 | 2 | 1985-03-05 | 1985-05-18 | 1985-03-05 | 1985-03-22 | short, questionable | Completed | TRUE | Long period channels and SM often contains periodic noisy signal | 2025-10-05 | 2025-10-06
217 | CUZ | 85 | 2 | 1985-05-20 | 1985-08-22 | 1985-05-20 | 1985-07-13 | large gap | Completed | TRUE | Data gap from 6/12 - 7/8. Calibration test visible on span 3 but no corresonding test in the service sheets. Long period channels very very noisy/unsuable for span 6. | 2025-09-29 | 2025-10-03
218 | CUZ | 86 | 2 | 1985-08-27 | 1985-11-10 | 1985-08-28 | 1985-09-15 | large gap | Completed | TRUE | Frequently all channels contain periodic noise/signal/spikes. | 2025-09-28 | 2025-09-28
219 | CUZ | 87 | 2 | 1985-11-11 | 1986-02-03 | 1985-11-11 | 1985-12-05 | stopped on 12-05, final day may be off | Completed | TRUE | Long period channels very very noisy- mostly unusable. LHE, LHN sometimes okay | 2025-09-26 | 2025-09-26
220 | CUZ | 88 | 2 | 1986-02-11 | 1986-04-26 | 1986-02-10 | 1986-02-26 | gaps | Completed | TRUE | Tape overall very noisy contains periodic signal/spikes. Calibration test in span 0 on 2-11 not visible but clear on 2-25. | 2025-09-29 | 2025-09-29
221 | CUZ | 93 | 2 | 1987-02-28 | 1987-05-13 | 1987-02-28 | 1987-05-14 | mostly gap |  | FALSE |  |  |  | Gap in numbers
222 | CUZ | 94 | 2 | 1987-05-20 | 1987-06-09 | 1987-05-21 | 1987-06-09 |  | Completed | TRUE | Data gap from 5/30 - 6/3. Long period low gain noisy. SM sometimes contain some periodic noise | 2025-09-28 | 2025-09-29 | No dates
223 | CUZ | 95 | 2 | 1987-04-11 | 1987-12-13 | 1987-11-04 | ? | Unreadable | Unrecoverable | TRUE | Highly Fragmented
224 | CUZ | 96 | 2 |  |  | ? | ? | Unreadable | Unrecoverable | TRUE | Highly Fragmented |  |  | No dates
342 | KMU | 1 | 1 | 1967-06-26 | 1967-09-02 |  |  |  |  | FALSE
343 | KMU | 2 | 1 | 1967-09-02 | 1967-11-17 |  |  |  |  | FALSE
344 | KMU | 3 | 1 | 1967-11-17 | 1968-01-29 |  |  |  |  | FALSE
345 | KMU | 4 | 1 | 1968-01-29 | 1968-04-11 |  |  |  |  | FALSE
346 | KMU | 5 | 1 | 1968-04-11 | 1968-06-21 |  |  |  |  | FALSE
347 | KMU | 6 | 1 | 1968-06-21 | 1968-09-02 |  |  |  |  | FALSE
348 | KMU | 7 | 1 | 1968-09-02 | 1968-11-13 |  |  |  |  | FALSE
349 | KMU | 8 | 1 | 1968-11-13 | 1969-01-27 |  |  |  |  | FALSE
350 | KMU | 9 | 1 | 1969-01-27 | 1969-04-20 |  |  |  |  | FALSE
351 | KMU | 10 | 1 | 1969-04-20 | 1969-07-18 |  |  |  |  | FALSE
352 | KMU | 11 | 1 | 1969-07-19 | 1969-10-01 |  |  |  |  | FALSE |  |  |  | No record
353 | KMU | 12 | 1 | 1969-10-02 | 1969-12-08 |  |  |  |  | FALSE
354 | KMU | 13 | 1 | 1969-12-08 | 1970-03-17 |  |  |  |  | FALSE
355 | KMU | 14 | 1 | 1970-03-23 | 1970-06-04 |  |  |  |  | FALSE
356 | KMU | 15 | 1 | 1970-06-04 | 1970-08-17 |  |  |  |  | FALSE
357 | KMU | 16 | 1 | 1970-08-17 | 1970-10-29 |  |  |  |  | FALSE
358 | KMU | 17 | 1 | 1970-11-04 | 1971-01-15 |  |  |  |  | FALSE
359 | KMU | 18 | 1 | 1971-01-18 | 1971-04-02 |  |  |  |  | FALSE
360 | KMU | 19 | 1 | 1971-04-22 | 1971-07-03 |  |  |  |  | FALSE
361 | KMU | 20 | 1 | 1971-07-07 | 1971-09-17 |  |  |  |  | FALSE
362 | KMU | 21 | 1 | 1971-09-18 | 1971-12-01 |  |  |  |  | FALSE
363 | KMU | 22 | 1 | 1971-12-01 | 1972-02-12 |  |  |  |  | FALSE
364 | KMU | 23 | 1 | 1972-02-12 | 1972-04-27 |  |  |  |  | FALSE
365 | KMU | 24 | 1 | 1972-04-29 | 1972-07-10 |  |  |  |  | FALSE
366 | KMU | 25 | 1 | 1972-07-10 | 1972-09-20 |  |  |  |  | FALSE
367 | KMU | 26 | 1 | 1972-09-10 | 1972-12-04 |  |  |  |  | FALSE
368 | KMU | 27 | 1 | 1972-12-04 | 1973-02-19 |  |  |  |  | FALSE
369 | KMU | 28 | 1 | 1973-02-19 | 1973-05-02 |  |  |  |  | FALSE
370 | KMU | 29 | 1 | 1973-05-05 | 1973-07-14 |  |  |  |  | FALSE
371 | KMU | 30 | 1 | 1973-07-14 | 1973-09-25 |  |  |  |  | FALSE
372 | KMU | 31 | 1 | 1973-09-26 | 1973-12-05 |  |  |  |  | FALSE
373 | KMU | 32 | 1 | 1973-12-08 | 1974-02-19 |  |  |  |  | FALSE
374 | KMU | 33 | 2 | 1974-02-19 | 1974-05-01 | 1974-02-18 | 1974-04-11 | fragmented | Completed | TRUE | SMV is noisy/dead. N component across all channels is weird for all calibration test. | 2025-09-01 | 2025-09-01
375 | KMU | 34 | 2 | 1974-05-01 | 1974-07-11 | 1974-05-01 | 1974-07-10 | fragmented | Needs to be revisted | FALSE |  | 2025-09-03
376 | KMU | 35 | 2 | 1974-07-11 | 1974-09-24 | 1974-07-11 | 1974-09-22 |  | Completed | TRUE | Multiple spans relatively short spans. SHN is noisy/dead. Several spans have significant noise- crosstalk with the time channel | 2025-09-01 | 2025-09-01
377 | KMU | 36 | 2 | 1974-09-24 | 1974-12-06 | 1974-09-24 | 1974-12-06 | fragmented | Completed | TRUE | N componet across multiple spans often too noisy/bad | 2025-09-02 | 2025-09-02
378 | KMU | 37 | 2 | 1974-12-06 | 1975-02-17 | 1974-12-06 | 1975-02-15 | fragmented |  | FALSE
379 | KMU | 38 | 2 | 1975-02-17 | 1975-05-02 | 1975-02-16 | 1975-05-02 | fragmented |  | FALSE
380 | KMU | 39 | 2 | 1975-05-02 | 1975-07-08 | 1975-05-02 | 1975-07-08 |  | Completed | TRUE |  | 2025-07-31 | 2025-08-04
381 | KMU | 40 | 2 | 1975-07-08 | 1975-09-15 | 1975-07-08 | 1975-09-13 |  | Completed | TRUE | Long period low gain and vertical component often noisy | 2025-07-31 | 2025-08-04
382 | KMU | 41 | 2 | 1975-09-15 | 1975-12-26 | 1975-09-15 | 1975-12-26 | large gap | Completed | TRUE | Data Gap from 10/22 - 11/26 due to "Motor stopped" - in service sheet | 2025-07-31 | 2025-08-04
383 | KMU | 42 | 2 | 1975-12-26 | 1976-03-04 | 1975-12-26 | 1976-03-03 |  | Completed | TRUE | Long period low gain and vertical component often noisy | 2025-07-31 | 2025-08-04
384 | KMU | 43 | 2 | 1976-03-08 | 1976-05-16 | 1976-03-08 | 1976-05-15 |  | Completed | TRUE | Long period low gain and vertical component often noisy | 2025-07-31 | 2025-08-05
385 | KMU | 44 | 2 | 1976-05-20 | 1976-07-23 | 1976-05-16 | 1976-07-22 |  | Completed | TRUE |  | 2025-07-31 | 2025-08-05
386 | KMU | 45 | 2 | 1976-07-23 |  | 1976-07-30 | 1976-09-29 |  | Completed | TRUE | After 1976-09-15, spans are shifted by ~19s. | 2025-07-31 | 2025-09-04 | No end time
387 | KMU | 46 | 2 | 1976-09-30 | 1977-01-20 | 1976-09-30 | 1977-01-20 | large gap | Completed | TRUE | Data Gap from 10/29 - 12/14. Long period low gain noisy | 2025-08-03 | 2025-08-05
388 | KMU | 48 | 2 | 1977-03-29 |  | 1977-03-29 | 1977-06-07 | fragmented | Completed | TRUE | Long period low gain noisy | 2025-08-27 | 2025-09-04 | No end time, No #47
389 | KMU | 49 | 2 | 1977-06-16 | 1977-08-24 | 1977-06-16 | 1977-08-24 |  | Completed | TRUE | Clock drifted then readjusted at the end of the end of the tape- See service sheet for more information. Long period low gain noisy. N component towards the end of the tape bad/noisy | 2025-08-03 | 2025-08-06
390 | KMU | 50 | 2 | 1977-08-24 |  | 1977-08-24 | 1977-10-23 |  | Completed | TRUE | Two Calibration tests in the same day | 2025-08-03 | 2025-08-11 | No end time, letter from Takanami
391 | KMU | 51 | 2 | 1977-10-23 |  | 1977-10-23 | 1977-12-21 | fragmented | Completed | TRUE |  | 2025-08-03 | 2025-08-07 | No end time
392 | KMU | 52 | 2 | 1978-02-02 | 1978-04-10 | 1978-02-06 | 1978-04-08 |  | Completed | TRUE |  | 2025-08-07 | 2025-08-07
393 | KMU | 53 | 2 | 1978-04-10 |  | 1978-04-10 | 1978-06-15 |  | Completed | TRUE |  | 2025-08-07 | 2025-08-11 | No end time
394 | KMU | 54 | 2 | 1978-06-16 |  | 1978-06-16 | 1978-08-18 | fragmented | Completed | TRUE | Several span very noisy SME, SHN, SHE, LLE, LME, LMN, LLN and occasionally SMV | 2025-08-27 | 2025-08-29 | No end time
395 | KMU | 55 | 2 | 1978-08-18 |  | 1978-08-18 | 1978-11-07 | large gap | Completed | TRUE |  | 2025-08-07 | 2025-08-07 | No end time
396 | KMU | 56 | 2 | 1978-11-07 |  | 1978-11-07 | 1979-01-12 |  | Completed | TRUE |  | 2025-08-07 | 2025-08-11 | No end time
397 | KMU | 57 | 2 | 1979-01-14 |  | 1979-01-14 | 1979-03-21 |  | Completed | TRUE |  | 2025-08-07 | 2025-08-07 | No end time
398 | KMU | 58 | 2 | 1979-03-31 |  | 1979-03-31 | 1979-06-13 |  | Completed | TRUE |  | 2025-08-09 | 2025-08-11 | No end time
399 | KMU | 59 | 2 | 1979-06-13 |  | 1979-06-13 | 1979-08-27 |  | Completed | TRUE |  | 2025-08-09 | 2025-08-11 | No end time
400 | KMU | 60 | 2 | 1979-09-01 |  | 1979-09-01 | 1979-12-19 |  | Completed | TRUE |  | 2025-08-11 | 2025-08-11 | No end time, jump from d.300 to 336
401 | KMU | 61 | 2 | 1979-12-19 | 1980-03-16 | 1979-12-19 | 1980-03-16 | highly fragmented | In Progress | FALSE | 84 spans, will revisit | 2025-11-21 |  | Bad tape
402 | KMU | 62 | 2 | 1980-03-16 | 1980-05-15 | 1980-03-16 | 1980-05-29 | later end? | Completed | TRUE | Long period low gain and some vertical components noisy | 2025-08-11 | 2025-09-12
403 | KMU | 63 | 2 | 1980-06-03 |  | 1980-07-11 | 1980-10-01 |  | Completed | TRUE |  | 2025-08-26 | 2025-08-26 | Notes from Chan
404 | KMU | 64 | 2 | 1980-10-01 | 1981-02-05 | 1980-10-01 | 1981-02-03 | fragmented | Completed | TRUE | Multiple spans contain noise across all channels- large spikes, some caused by tape slippage. | 2025-08-26 | 2025-09-02 | Notes from Chan
405 | KMU | 65 | 2 | 1981-02-05 |  | 1981-02-05 | 1981-04-05 | may end ~1981-02-13 | Needs to be revisted | FALSE | Note: All channels very noisy- contains periodic noise/spikes. Time channel leaking onto other channels. Span 4 may need a second look relative to timing (may be 5 mins off) | 2025-08-25 | 2025-08-25 | data after 1981-02-13 in tiny fragments and likely garbage
406 | KMU | 66 | 2 | 1981-10-22 | 1982-01-09 | 1981-10-22 | 1982-01-09 | some gaps | Completed | TRUE | Gap from 10/25 - 11/2. SMN and long period, low gain channels noisy. | 2025-08-24 | 2025-08-25
407 | KMU | 67 | 2 | 1982-01-23 |  | 1982-01-23 | 1982-04-12 | some gaps | Completed | TRUE | Data often contains weird periodic signal across all channels- most often on long period channels and SMN. | 2025-08-24 | 2025-08-24 | No end time
408 | KMU | 68 | 2 | 1982-04-12 |  | 1982-04-12 | 1982-06-21 |  | Completed | TRUE | Calibration Test is before start time of tape | 2025-08-11 | 2025-08-12 | No end time
409 | KMU | 69 | 2 | 1982-06-22 |  | 1982-06-22 | 1982-09-03 |  | Completed | TRUE | SHE is noisy and appears to have some crosstalk across channels | 2025-08-12 | 2025-08-13 | No end time
410 | KMU | 70 | 2 | 1982-09-03 |  | 1982-09-03 | 1982-11-19 |  | Completed | TRUE | SH and long period, low gain channels noisy. | 2025-08-22 | 2025-08-24 | No end time
411 | KMU | 71 | 2 | 1982-11-19 | 1983-02-03 | 1982-11-19 | 1983-02-03 |  | Completed | TRUE | Only SM and the long period low gain are good. | 2025-08-12 | 2025-08-13
412 | KMU | 72 | 2 | 1983-02-03 | 1983-05-17 | 1983-02-03 | 1983-05-05 | fragmented | Unrecoverable | TRUE | ~400-500 spans, may revisit
413 | KMU | 73 | 2 | 1983-05-17 | 1983-08-11 | 1983-05-20 | 1983-07-19 | fragmented | Unrecoverable | TRUE | ~400-500 spans, may revisit
414 | KMU | 74 | 2 | 1983-08-11 | 1983-11-25 | 1983-08-11 | 1983-10-21 | fragmented | Unrecoverable | TRUE | ~400-500 spans, may revisit
415 | KMU | 75 | 2 | 1983-11-25 | 1984-02-24 | 1983-11-27 | 1984-02-15 | fragmented | Unrecoverable | TRUE | ~400-500 spans, may revisit
416 | KMU | 76 | 2 | 1984-02-24 | 1984-05-29 | 1984-02-26 | 1984-05-25 | fragmented | Unrecoverable | TRUE | ~400-500 spans, may revisit
417 | KMU | 77 | 2 | 1984-05-29 | 1984-09-06 | 1984-05-29 | 1984-07-13 | fragmented | Unrecoverable | TRUE | ~300 spans, may revist
418 | KMU | 78 | 2 | 1984-09-06 | 1984-12-11 | 1984-09-06 | 1984-11-23 |  | Completed | TRUE | Service sheet notes indicate entire tape is very noisy. Several channels have crosstalk | 2025-08-12 | 2025-08-12
419 | KMU | 79 | 2 | 1984-12-11 | 1985-05-23 | 1984-12-11 | 1985-03-07 | some gaps | Completed | TRUE | Gap from 1/24 - 2/2. Long period channels are noisy. | 2025-08-21 | 2025-08-22
420 | KMU | 80 | 2 | 1985-05-23 | 1985-07-05 | 1985-03-23 | 1985-04-22 | date range?! | Completed | TRUE | Long period channels very noisy | 2025-08-21 | 2025-08-21
421 | KMU | 81 | 2 | 1985-07-05 | 1985-10-02 | 1985-07-05 | 1985-09-02 |  | Completed | TRUE | Long period channels are noisy, especially the low gain channels- LLE. | 2025-08-20 | 2025-08-21
422 | KMU | 82 | 2 | 1985-10-02 | 1986-01-07 | 1985-10-02 | 1985-11-19 |  | Completed | TRUE |  | 2025-08-19 | 2025-08-21
423 | KMU | 83 | 2 | 1986-01-07 | 1986-04-01 | 1986-01-07 | 1986-03-23 |  | Completed | TRUE | V and E component is frequently very noisy | 2025-08-19 | 2025-08-19
424 | KMU | 84 | 2 | 1986-04-01 | 1986-06-22 | 1986-04-01 | 1986-06-08 |  | Completed | TRUE | N component is frequently very noisy | 2025-08-12 | 2025-08-13
425 | KMU | 85 | 2 | 1986-06-22 | 1986-09-02 | 1986-06-22 | 1986-08-16 |  | Completed | TRUE |  | 2025-08-19 | 2025-08-19
426 | KMU | 86 | 2 | 1986-09-02 | 1986-12-01 | 1986-09-02 | 1986-09-10 | later garbled | Completed | TRUE | Note: Long period channels very noisy | 2025-08-18 | 2025-08-21
427 | KMU | 87 | 2 | 1986-12-01 | 1987-03-01 | 1986-12-01 | 1987-02-15 |  | Completed | TRUE | Vertical component across all channels is noisy. Long period low gain channels are also bad/noisy | 2025-08-14 | 2025-08-14
428 | KMU | 88 | 2 | 1987-03-01 | 1987-05-15 | 1987-03-01 | 1987-05-15 |  | Completed | TRUE |  | 2025-08-13 | 2025-08-13
429 | KMU | 89 | 2 | 1987-06-02 | 1987-10-01 | 1987-06-02 | 1987-09-15 | large gap? | Completed | TRUE | Gap from 7/3 - 8/2. No calibration test visible on long period, low gain channels- just very noisy | 2025-08-18 | 2025-08-18
430 | KMU | 90 | 2 | 1987-10-01 | 1988-01-07 | 1987-10-01 | 1987-12-17 |  | Completed | TRUE | Long period low gain channels may be dead - no calibration test visible. Long period vertical component on high/med gain contains weird/periodic signal | 2025-08-14 | 2025-08-14
431 | KMU | 91 | 2 | 1988-01-07 | 1988-04-01 | 1988-01-07 | 1988-03-22 |  | Completed | TRUE | Long period low gain channels may be dead - no calibration test visible. Long period vertical component is noisy | 2025-08-14 | 2025-08-14
432 | KMU | 92 | 2 | 1988-04-01 |  | 1988-04-01 | 1988-05-19 | later garbled | Completed | TRUE | No calibration tests appear on the long period, low gain channels. In addition, strange periodic signal frequently appears across all channels- appears to be crosstalk between the time and waveform channels | 2025-08-18 | 2025-08-18 | No end time
433 | KMU | 93 | 2 | 1988-07-01 | 1988-10-18 | 1988-07-01 | 1988-10-11 | large gap | Completed | TRUE | Time jumps from July 6 to August 1 (missing data in between) - according to service sheet notes. Long period, low gain channels are noisy/bad. Span 2 contains periodic noise, likely crosstalk from the time and waveform channels | 2025-08-18 | 2025-08-18
434 | KMU | 94 | 2 | 1988-10-18 | 1989-01-04 | 1988-10-18 | 1989-01-02 |  | Completed | TRUE | Long period low gain channels may be dead - no calibration test visible. Long period vertical component noisy | 2025-08-14 | 2025-08-14
435 | KMU | 95 | 2 | 1989-01-04 |  | 1989-01-04 | 1989-03-21 |  | Completed | TRUE | Long period low gain channels may be dead - no calibration test visible. Long period vertical component is noisy. Periodic spikes appear in SM and long period medium/low gain. | 2025-08-14 | 2025-08-15 | No end time
436 | KMU | 96 | 2 | 1989-03-26 | 1989-06-12 | 1989-03-26 | 1989-06-08 |  | Completed | TRUE | No calibration test present on 1989-06-02. Several channels contain periodic noise, could be crosstalk across channels | 2025-08-15 | 2025-08-15
437 | KMU | 97 | 2 | 1989-06-12 |  | 1989-06-12 | 1989-08-23 |  | Completed | TRUE | Calibration test looks a bit strange/noisy on LLE,LLN. Long period medium/low gain and SM contains periodic spikes, perhaps crosstalk with time channels across channels | 2025-08-15 | 2025-08-15 | No end time
438 | KMU | 98 | 2 | 1989-08-23 |  | 1989-08-23 | 1989-11-07 |  | Completed | TRUE | Calibration test looks a bit strange/noisy on LLE, LLN. Long period medium/low gain and SM contains periodic spikes, perhaps crosstalk across channels. Long period low gain channels likely dead | 2025-08-15 | 2025-08-17 | No end time
439 | KMU | 99 | 2 | 1989-11-15 | 1990-02-01 | 1989-11-15 | 1990-01-29 |  | Completed | TRUE | No calibration test shown on long period, low gain channels- bad/noisy. Likely dead throughout the entire tape | 2025-08-17 | 2025-08-18
440 | KMU | 100 | 2 | 1990-02-01 |  | 1990-02-01 | 1990-05-02 | gap: 2/14-3/2 | Completed | TRUE | Gap from 2/14 - 3/2. Second calibration test appears the day after the date written in the service sheets. | 2025-09-04 | 2025-09-06 | No end time
441 | KMU | 101 | 2 | 1990-05-02 |  | 1990-05-02 | 1990-07-13 |  | Completed | TRUE | All channels mostly have periodic spikes- likely crosstalk from time channel. Most prominent on SM and LM | 2025-08-25 | 2025-08-25 | No end time
442 | KMU | 102 | 2 | 1990-07-13 | 1990-10-02 | 1990-07-13 | 1990-09-27 |  | Completed | TRUE | Calibration test on long period low gain channels is not visible- too noisy. SM, LM channels frequently have large periodic spikes. | 2025-08-25 | 2025-08-25
443 | KMU | 103 | 2 | 1990-10-02 | 1991-01-04 | 1990-10-02 | ? | good until 12/3 | Needs to be revisted | FALSE | Note: Span 15,12 potentially salvagable. Should revisit if time allows. Long period low gain noisy, several channels on long period contains large spikes | 2025-08-25 | 2025-09-03
469 | MAT | 1 | 1 | 1967-07-15 | 1967-09-17 |  |  |  |  | FALSE
470 | MAT | 2 | 1 | 1967-09-17 | 1967-11-27 |  |  |  |  | FALSE
471 | MAT | 3 | 1 | 1967-11-27 | 1968-02-03 |  |  |  |  | FALSE
472 | MAT | 4 | 1 | 1968-02-03 | 1968-04-14 |  |  |  |  | FALSE
473 | MAT | 5 | 1 | 1968-04-14 | 1968-06-25 |  |  |  | Completed | FALSE |  | 2025-12-03 | 2025-12-04
474 | MAT | 6 | 1 | 1968-06-25 | 1968-09-04 |  |  |  |  | FALSE
475 | MAT | 7 | 1 | 1968-09-04 | 1968-11-19 |  |  |  |  | FALSE
476 | MAT | 8 | 1 | 1968-11-19 | 1969-01-29 |  |  |  |  | FALSE
477 | MAT | 9 | 1 | 1969-01-29 | 1969-04-11 |  |  |  |  | FALSE
478 | MAT | 10 | 1 | 1969-04-11 | 1969-06-20 |  |  |  |  | FALSE
479 | MAT | 11 | 1 | 1969-06-20 | 1969-08-30 |  |  |  | In Progress | FALSE |  | 2025-12-02
480 | MAT | 12 | 1 | 1969-08-30 | 1969-11-10 | 1969-08-30 | 1969-10-29 | preliminary |  | FALSE
481 | MAT | 13 | 1 | 1969-11-10 | 1970-01-21 |  |  |  |  | FALSE
482 | MAT | 14 | 1 | 1970-01-21 | 1970-04-03 |  |  |  |  | FALSE
483 | MAT | 15 | 1 | 1970-04-03 | 1970-06-15 |  |  |  |  | FALSE
484 | MAT | 16 | 1 | 1970-06-15 | 1970-08-28 |  |  |  |  | FALSE
485 | MAT | 17 | 1 | 1970-08-28 | 1970-11-09 |  |  |  |  | FALSE
486 | MAT | 18 | 1 | 1970-11-09 | 1971-01-25 |  |  |  |  | FALSE
487 | MAT | 19 | 1 | 1971-01-25 | 1971-04-10 |  |  |  |  | FALSE
488 | MAT | 20 | 1 | 1971-04-14 | 1971-06-27 |  |  |  |  | FALSE
489 | MAT | 21 | 1 | 1971-06-27 | 1971-09-09 |  |  |  | Completed | FALSE |  | 2025-12-01 | 2025-12-02
490 | MAT | 22 | 1 | 1971-09-09 | 1971-11-21 |  |  |  |  | FALSE
491 | MAT | 23 | 1 | 1971-11-21 | 1972-02-04 |  |  |  |  | FALSE
492 | MAT | 24 | 1 | 1972-02-04 | 1972-04-19 |  |  |  |  | FALSE
493 | MAT | 25 | 1 | 1972-04-19 | 1972-07-01 |  |  |  |  | FALSE
494 | MAT | 26 | 1 | 1972-07-01 | 1972-09-15 |  |  |  |  | FALSE
495 | MAT | 27 | 1 | 1972-09-15 | 1972-11-28 |  |  |  |  | FALSE
496 | MAT | 28 | 1 | 1972-11-28 | 1973-02-11 |  |  |  |  | FALSE
497 | MAT | 29 | 1 | 1973-02-11 | 1973-04-26 |  |  |  |  | FALSE
498 | MAT | 30 | 1 | 1973-05-02 | 1973-07-15 |  |  |  |  | FALSE
499 | MAT | 31 | 1 | 1973-07-15 | 1973-09-28 |  |  |  |  | FALSE
500 | MAT | 32 | 1 | 1973-09-28 | 1973-12-09 |  |  |  | Needs to be revisted | FALSE | Note: Roughly after 11/16 timing is offset by ~60s. | 2025-12-03 | 2025-12-04
501 | MAT | 33 | 1 | 1973-12-10 | 1974-02-20 |  |  |  |  | FALSE
502 | MAT | 34 | 2 | 1974-02-21 | 1974-05-05 | 1974-02-21 | 1974-03-09 |  | Completed | TRUE |  | 2025-11-09 | 2025-11-09
503 | MAT | 35 | 2 | 1974-05-05 | 1974-07-13 | 1974-05-05 | 1974-05-31 | short tape (only partially digitized) | Completed | TRUE | Long period low gain channels noisy and sometimes LMV. | 2025-09-15 | 2025-09-15
504 | MAT | 36 | 2 | 1974-07-19 | 1974-10-04 | 1974-07-19 | 1974-10-03 |  | Completed | TRUE | Calibration tests on (8-31) and (9-14) appear prior to service sheet times. | 2025-09-06 | 2025-09-09
505 | MAT | 37 | 2 | 1974-10-04 | 1974-12-17 | 1974-10-04 | 1974-12-17 |  | Completed | TRUE | Long period low gain channels noisy. | 2025-09-07 | 2025-09-07
506 | MAT | 38 | 2 | 1974-12-18 | 1975-03-01 | 1974-12-17 | 1975-02-28 |  | Completed | TRUE | Calibration tests on (1-18) and (2-1) appear to start ~5-10 mins prior to service sheets datetime. Long period low gain channels noisy. | 2025-09-07 | 2025-09-08
507 | MAT | 39 | 2 | 1975-03-01 | 1975-05-13 | 1975-03-01 | 1975-05-13 |  | Completed | TRUE | Calibration tests on (3-22) and (4-12) appear to start ~5-10 mins prior to service sheets datetime. Long period low gain channels noisy. | 2025-09-08 | 2025-09-09
508 | MAT | 40 | 2 | 1975-05-13 | 1975-07-26 | 1975-05-13 | 1975-07-24 |  | Completed | TRUE | Calibration tests on (5-24), (6-7), (7-18) appear prior to service sheet times. Long period low gain channels noisy | 2025-09-09 | 2025-09-09
509 | MAT | 41 | 2 | 1975-07-26 | 1975-10-08 |  |  | undecodable | Unrecoverable | TRUE
510 | MAT | 42 | 2 | 1975-10-09 | 1975-12-20 | 1975-10-09 | 1975-12-20 |  | Completed | TRUE | Calibration tests on (10-18), (11-08), (11-29), (12-13) appear prior to service sheet times. Long period low gain channels noisy | 2025-09-10 | 2025-09-12
511 | MAT | 43 | 2 | 1975-12-20 | 1976-03-04 | 1975-12-20 | 1976-02-23 |  | Completed | TRUE | Calibration tests on (1-10), (1-31), (2-14), (2-21) appear prior to service sheet times. Long period low gain channels noisy | 2025-09-09 | 2025-09-10
512 | MAT | 44 | 2 | 1976-03-05 | 1976-05-18 | 1976-03-05 | 1976-05-17 |  | Completed | TRUE | Calibration tests on (3-13), (3-27), (5-8) appear prior to service sheet times. Long period low gain channels noisy | 2025-09-10 | 2025-09-10
513 | MAT | 45 | 2 | 1976-05-21 | 1976-08-02 | 1976-05-21 | 1976-08-02 |  | Completed | TRUE | Low gain channels noisy- LHV unreliable/noisy/bad | 2025-09-10 | 2025-09-12
514 | MAT | 46 | 2 | 1976-08-03 | 1976-10-22 | 1976-08-21 | 1976-09-04 |  | Completed | TRUE | Long period channels very noisy and SM frequently noisy | 2025-09-12 | 2025-09-12
515 | MAT | 47 | 2 | 1976-10-22 | 1976-12-31 | 1976-12-10 | 1977-01-03 |  | Completed | TRUE | Long period low gain and LHV noisy | 2025-09-12 | 2025-09-12 | Bad time till 12/10, then OK;time absent
516 | MAT | 48 | 2 | 1977-01-06 | 1977-03-21 | 1977-01-06 | 1977-03-20 |  | Completed | TRUE | Timing between 2/17 - 2/24 is offset by ~10 mins. The time may have been offset starting 2/16. Service sheet daily check log indicates something happened 2/17 and timing was corrected on 2/24. Long period low gain noisy | 2025-09-12 | 2025-09-15
517 | MAT | 49 | 2 | 1977-03-21 | 1977-05-03 | 1977-03-21 | 1977-04-21 |  | Completed | TRUE |  | 2025-09-12 | 2025-09-14
518 | MAT | 50 | 2 | 1977-05-03 | 1977-08-16 | 1977-06-03 | 1977-08-15 |  | Completed | TRUE | Span 3 is 136 hrs long and potentially salvagable- should revisit if time allows. | 2025-09-12 | 2025-09-17
519 | MAT | 51 | 2 | 1977-08-16 | 1977-10-31 | 1977-08-16 | 1977-10-25 |  | Completed | TRUE | Span 2,3 is 103 hrs long total and potentially salvagable- should revisit if time allows | 2025-09-15 | 2025-09-17
520 | MAT | 52 | 2 | 1977-10-31 | 1978-01-13 | 1977-10-31 | 1978-01-13 |  | In Progress | FALSE |  | 2025-09-15
521 | MAT | 53 | 2 | 1978-03-04 | 1978-05-18 | 1978-03-03 | 1978-05-16 |  | Completed | TRUE | The arrival pick shifts are noted in service sheet in span 4. I believe the calibration test on (5-6) time potentially says 51 instead of 57, which would better match the timing and correspond with surround EQ events. | 2025-09-15 | 2025-09-17
522 | MAT | 54 | 2 | 1978-05-26 | 1978-08-09 | 1978-05-26 | 1978-08-07 |  | In Progress | FALSE |  | 2025-09-22
523 | MAT | 55 | 2 | 1978-08-09 | 1978-10-23 | 1978-08-10 | 1978-09-17 | timing uncertain | Completed | TRUE |  | 2025-11-24 | 2025-12-01
524 | MAT | 56 | 2 | 1978-11-15 | 1979-01-29 | 1978-11-15 | 1979-01-27 |  | Completed | TRUE | Service sheet indicates multiple time corrections. Long period low gain noisy | 2025-09-17 | 2025-09-18
525 | MAT | 57 | 2 | 1979-02-01 | 1979-04-09 | 1979-01-30 | 1979-04-08 |  | Completed | TRUE | SHV, SMN and long period low gain bit noisy. Span 3 should be revisited if time allows- potentially salvagable | 2025-09-18 | 2025-09-18
526 | MAT | 58 | 2 | 1979-05-06 | 1979-07-17 | 1979-05-06 | 1979-07-12 |  | Completed | TRUE |  | 2025-09-18 | 2025-09-18
527 | MAT | 59 | 2 | 1979-07-17 | 1979-09-23 | 1979-07-17 | 1979-09-22 |  | Completed | TRUE | Note: SHV, LMV and long period low gain noisy | 2025-09-18 | 2025-09-18
528 | MAT | 60 | 2 | 1979-10-20 | 1980-01-21 | ? | ? | undecodable? | Unrecoverable | TRUE
529 | MAT | 61 | 2 | 1980-01-21 | 1980-04-25 | ? | ? | undecodable? | Unrecoverable | TRUE
530 | MAT | 62 | 2 | 1980-04-25 | 1980-07-10 | ? | ? | undecodable? | Unrecoverable | TRUE
531 | MAT | 63 | 2 | 1980-07-11 | 1980-09-25 | ? | ? | undecodable | Unrecoverable | TRUE
532 | MAT | 64 | 2 | 1980-09-27 | 1980-12-09 | ? | ? | undecodable? | Unrecoverable | TRUE
533 | MAT | 65 | 2 | 1980-12-09 | 1981-02-20 | ? | ? | undecodable? | Unrecoverable | TRUE
534 | MAT | 66 | 2 | 1981-02-27 | 1981-05-16 | ? | ? | undecodable | Unrecoverable | TRUE |  |  |  | nothing meaningful off tapes MAT 66-69, likely due to write head stutter
535 | MAT | 67 | 2 | 1981-05-16 | 1981-08-02 | ? | ? | undecodable | Unrecoverable | TRUE |  |  |  | nothing meaningful off tapes MAT 66-69, likely due to write head stutter
536 | MAT | 68 | 2 | 1981-08-02 | 1981-10-20 | ? | ? | undecodable | Unrecoverable | TRUE |  |  |  | nothing meaningful off tapes MAT 66-69, likely due to write head stutter
537 | MAT | 69 | 2 | 1981-10-20 | 1982-01-20 | ? | ? | undecodable | Unrecoverable | TRUE |  |  |  | nothing meaningful off tapes MAT 66-69, likely due to write head stutter
538 | MAT | 70 | 2 | 1982-01-20 | 1982-04-13 | 1982-03-29 | 1982-04-13 |  | Completed | TRUE | LHN very noisy- contains weird periodic noise clusters | 2025-09-18 | 2025-09-18
539 | MAT | 71 | 2 | 1982-04-13 | 1982-06-21 | 1982-04-14 | 1982-06-19 |  | Completed | TRUE | SM and long period low gain noisy | 2025-09-18 | 2025-09-18
540 | MAT | 72 | 2 | 1982-06-22 | 1982-08-28 | 1982-06-22 | 1982-08-27 |  | Completed | TRUE | SHV and long period low gain noisy | 2025-09-18 | 2025-09-18
541 | MAT | 73 | 2 | 1982-09-01 | 1982-11-08 | 1982-08-31 | 1982-11-07 |  | Completed | TRUE | SHV and long period low gain noisy | 2025-09-18 | 2025-09-18
542 | MAT | 74 | 2 | 1982-01-08 | 1983-01-13 | 1982-11-08 | 1983-01-14 |  | Completed | TRUE | SHV, LMV and long period low gain noisy | 2025-09-18 | 2025-09-20
543 | MAT | 75 | 2 | 1983-02-15 | 1983-04-24 | 1983-02-16 | 1983-04-02 |  | Completed | TRUE | All channels very noisy with periodic noise/spikes | 2025-09-20 | 2025-09-20
544 | MAT | 76 | 2 | 1983-04-26 | 1983-07-03 | 1983-04-26 | 1983-06-12 |  | Completed | TRUE | All channels often very noisy with periodic noise/spikes | 2025-09-20 | 2025-09-20
545 | MAT | 77 | 2 | 1983-07-11 | 1983-09-17 | 1983-07-11 | 1983-09-01 |  | Completed | TRUE | SME and Long period channels noisy/weird. | 2025-09-20 | 2025-09-20
546 | MAT | 78 | 2 | 1983-09-19 | 1983-11-26 | 1983-09-19 | 1983-10-21 |  | Completed | TRUE | Long period channels mostly noisy and SM often noisy | 2025-09-20 | 2025-09-20
547 | MAT | 79 | 2 | 1983-11-28 | 1984-02-05 | 1983-11-27 | 1983-12-15 |  | Completed | TRUE | Long period low gain noisy and SME appears a bit different | 2025-09-20 | 2025-09-20
548 | MAT | 80 | 2 | 1984-02-07 | 1984-04-14 | 1984-02-07 | 1984-03-13 |  | Completed | TRUE | LHN contains peridic noise/spike signal- likely tape slippage. Long period low gain noisy. | 2025-09-20 | 2025-09-20
549 | SWU | 1 | 2 | 1984-10-01 | 1984-12-24 | 1984-10-09 | 1984-12-13 | fragmented, jumps | Completed | TRUE |  | 2025-11-23 | 2025-11-30
550 | SWU | 2 | 2 | 1984-12-24 | 1985-04-10 | 1984-12-24 | 1985-02-19 |  | Completed | TRUE | All channels often noisy- contains spikes. Timing between 2/12 - 2/14 is unverified but timestamps are good and consistent. | 2025-11-09 | 2025-11-10
551 | SWU | 3 | 2 | 1985-04-10 | 1985-07-25 | 1985-04-10 | 1985-07-22 |  | Completed | TRUE | Long period channels noisy- often low gain channels | 2025-09-22 | 2025-09-22
552 | SWU | 4 | 2 | 1985-08-12 | 1985-11-21 | 1985-07-25 | 1985-09-06 |  | Completed | TRUE | Long period channels noisy- often low gain channels. SM also noisy | 2025-11-10 | 2025-11-10
553 | SWU | 5 | 2 | 1985-11-21 | 1986-02-26 | 1985-11-21 | 1986-01-28 | fragmented, jumps |  | FALSE
554 | SWU | 6 | 2 | 1986-02-26 | 1986-05-26 | 1986-02-26 | 1986-05-08 |  | Completed | TRUE | LLE and LLV channels noisy. | 2025-09-22 | 2025-09-23
555 | SWU | 7 | 2 | 1986-05-26 | 1986-08-27 | 1986-05-26 | 1986-07-27 | fragmented, jumps |  | FALSE
556 | SWU | 8 | 2 | 1986-08-27 | 1986-11-28 | 1986-08-27 | 1986-09-08 |  | Completed | TRUE | Long period channels noisy. | 2025-09-23 | 2025-09-23
557 | SWU | 9 | 2 | 1986-11-28 | 1987-02-02 | 1986-11-28 | 1987-01-07 |  | Completed | TRUE | LLE and LLV channels noisy | 2025-09-22 | 2025-09-22
558 | SWU | 10 | 2 | 1987-02-02 | 1987-05-27 | 1987-04-14 | 1987-05-27 |  | Completed | TRUE | LLE and LLV channels noisy | 2025-09-22 | 2025-09-22
559 | SWU | 11 | 2 | 1987-05-27 | 1987-07-30 | 1987-05-27 | 1987-07-29 |  | Completed | TRUE | LLE and LLV channels noisy | 2025-09-22 | 2025-09-23
560 | SWU | 12 | 2 | 1987-07-30 | 1987-09-24 | 1987-07-30 | 1987-09-18 |  | Completed | TRUE | Note: LLE and LLV channels noisy | 2025-09-23 | 2025-09-23
561 | SWU | 13 | 2 | 1987-12-08 | 1988-03-02 | 1987-12-08 | 1988-01-26 |  |  | FALSE
562 | SWU | 14 | 2 | 1988-03-02 | 1988-04-28 | 1988-04-15 | 1988-05-13 | timing way off? | Completed | TRUE | Some time after 4/21/1988, the timing shifts and is off by ~40-45s. | 2025-09-26 | 2025-09-26
563 | SWU | 15 | 2 | 1988-08-11 | 1988-10-25 | 1988-08-11 | 1988-10-25 | fragmented, jumps |  | FALSE
564 | SWU | 16 | 2 | 1988-10-25 | 1988-12-24 | 1988-10-25 | 1988-11-06 |  | Completed | TRUE | SMN, and long period channels often noisy | 2025-09-24 | 2025-09-26
565 | SWU | 17 | 2 | 1988-12-24 | 1989-03-19 | 1988-12-22 | 1989-02-25 |  | Completed | TRUE | SMN often noisy. Long period low gain and vertical component noisy. Span is offset by ~15-20s. | 2025-09-23 | 2025-09-26
566 | SWU | 18 | 2 | 1989-03-19 | 1989-05-02 | 1989-03-17 | 1989-05-01 |  | Completed | TRUE | Long period channels noisy especially LLE and LLV channels noisy. Spans 4,5 contains calibration tests that appear under 565_AKU017. Timing is a bit unclear- see service sheets for more information | 2025-09-23 | 2025-09-24
567 | SWU | 19 | 2 | 1989-05-02 | 1989-08-11 | 1989-05-02 | 1989-07-14 |  | Completed | TRUE | LLE and LLV channels noisy | 2025-09-23 | 2025-09-23
568 | SWU | 20 | 2 | 1989-08-01 | 1989-11-02 | 1989-08-02 | 1989-09-19 |  | Completed | TRUE | LLE and LLV channels noisy | 2025-09-24 | 2025-09-24
569 | SWU | 21 | 2 | 1989-11-02 | 1989-12-26 | 1989-11-02 | 1989-12-26 |  | Completed | TRUE |  | 2025-09-24 | 2025-09-25
570 | SWU | 22 | 2 | 1989-12-26 | 1990-03-28 | 1989-12-26 | 1990-03-10 |  | Completed | TRUE | Long period channels noisy | 2025-09-24 | 2025-09-24
571 | SWU | 23 | 2 | 1990-03-28 | 1990-06-12 | 1990-03-28 | 1990-06-09 |  | Completed | TRUE | Long period low gain and vertical components very noisy. The end of span 3 get very very noisy- large periodic signal clusters | 2025-09-25 | 2025-09-25
572 | SWU | 24 | 2 | 1990-06-12 | 1990-07-26 | 1990-06-12 | 1990-07-26 |  | Completed | TRUE | Long period channels and vertical component noisy | 2025-09-25 | 2025-09-25
573 | SWU | 25 | 2 | 1990-07-26 | 1990-08-10 | 1990-07-26 | 1990-08-10 |  | Completed | TRUE | Long period low gain and vertical components very noisy | 2025-09-25 | 2025-09-25
574 | SWU | 26 | 2 | 1990-11-08 | 1990-12-19 | 1990-09-26 | 1990-12-19 | actually two recordings? | Completed | TRUE | Long period channels often noisy. LHV is bad- noted in the service sheets. SME very noisy | 2025-09-25 | 2025-09-25
575 | SWU | 27 | 2 | 1990-12-19 | 1991-02-20 | 1990-12-19 | 1991-02-20 |  | Completed | TRUE | Long period channels and vertical component noisy | 2025-09-25 | 2025-09-25
601 | TCC | 1a | 1 | 1965-06-22 | 1965-07-27 |  |  |  |  | FALSE
602 | TCC | 2a | 1 | 1965-07-27 | 1965-08-18 |  |  |  |  | FALSE
603 | TCC | 3a | 1 | 1965-08-18 | 1965-10-15 |  |  |  |  | FALSE
604 | TCC | 3A | 1 | 1965-10-15 | 1966-01-15 |  |  |  |  | FALSE
605 | TCC | 1 | 1 | 1966-01-15 | 1966-04-02 |  |  |  |  | FALSE
606 | TCC | 2 | 1 | 1966-04-24 | 1966-07-13 |  |  |  |  | FALSE
607 | TCC | 3 | 1 | 1966-07-13 | 1966-09-18 |  |  |  |  | FALSE
608 | TCC | 4 | 1 | 1966-11-04 | 1967-01-28 |  |  |  |  | FALSE
609 | TCC | 5 | 1 | 1967-01-29 | 1967-05-24 |  |  |  |  | FALSE
610 | TCC | 6 | 1 | 1967-05-24 | 1967-08-09 |  |  |  |  | FALSE
611 | TCC | 7 | 1 | 1967-08-25 | 1968-02-07 |  |  |  |  | FALSE |  |  |  | Stopped at some time
612 | TCC | 8 | 1 | 1968-04-25 | 1968-11-01 |  |  |  |  | FALSE |  |  |  | No data
613 | TCC | 9 | 1 | 1968-11-08 | 1969-01-24 |  |  |  |  | FALSE
614 | TCC | 10 | 1 | 1969-02-18 | 1969-05-08 |  |  |  |  | FALSE
615 | TCC | 11 | 1 | 1969-06-03 | 1969-09-15 |  |  |  |  | FALSE
616 | TCC | 12 | 1 | 1969-11-10 | 1970-03-03 |  |  |  |  | FALSE
617 | TCC | 13 | 1 | 1970-03-31 | 1970-05-12 |  |  |  |  | FALSE |  |  |  | Restart 9/21/70
618 | TCC | 14 | 1 | 1971-03-31 | 1971-06-20 |  |  |  |  | FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE
FALSE